## Slide 1
‘unexpected’ problems
1) Second-order fluctuations

## Slide 2
Non-linearity
If is small the linearization works
Otherwise the second order expansion has to be used

## Slide 3
Non-linearity
Frequency (Hz)
Intensity PSD (W2/Hz)
Simultaneous acquisition of time series of
Output field intensity
PDH signal
Non linearized with optical resonance’s transfer function
Direct
Derived from PDH signal

## Slide 4
‘unexpected’ problems
1) Second-order fluctuations
Solution: - higher input coupler transmission (lower Finesse)
- cleaner spectrum (low frequency mechanical modes are important)
2) Dynamic instability of ‘light’ modes at low frequency (within or close to the locking bandwidth)

## Slide 6
Freq. (kHz) [FEM] ±5% | Mass (kg) [FEM] ±10% | Q Room T ±10% | Q [FEM] LHe T ±10%
65.1 [67.0] | 2.6 x 10-7 [2.2 x 10-7] | 0.87 x 105 | 0.85 x 106 [4.0 x 106]
85.5 [89.0] | 3.0 x 10-7 [2.2 x 10-7] | 1.45 x 105 | 2.60 x 106 [2.0 x 106]
129 [136] | 1.35 x 10-7 [] | 2.80 x 103 | 1.00 x 105 [3.2 x 106]
The problem concerns QPO oscillators, but WHEEL oscillators have lower Q

## Slide 7
‘unexpected’ problems
1) Second-order fluctuations
Solution: - higher input coupler transmission (lower Finesse)
- cleaner spectrum (low frequency mechanical modes are important)
2) Dynamic instability of ‘light’ modes at low frequency (within or close to the locking bandwidth)
Solution: - new QPO with low-frequency modes up-shifted
- new WHEEL oscillators with balanced nodal suspension (enhanced de-coupling from the background and increased Q

## Slide 8
New QPO

## Slide 9
New WHEEL

## Slide 10
New WHEEL

## Slide 11
Published works with acknowledgement to the PRIN