## Slide 1: Cryotrap Control using Tango Control System
Martin Mohan
Software Engineer
EGO

## Slide 2: Outline
Objectives:
Control Cryotrap using Tango
Subjects:
Who Uses Tango?
Cryotrap equipment controlled
Architecture
synoptappli
Mambo
pyTango
astor
Conclusion

## Slide 3
1. Who Uses Tango?
…and several other users…
Notes: Formal collaboration between institutes

## Slide 4: 2. Cryotrap equipment controlled
Pirani
Pressure
Gauges.
(read only)
Manual and
EM valves
(read/write
v21/v22).
Turbo/Scroll pumps
(read/write)

## Slide 5: 3. Architecture
There are tree architecture/security levels:
Electronic (for more info Roberto Cavalieri)
PLC (Giulio Ballardin)
Software (Tango: Martin Mohan)
PLC
Software
Electronic

## Slide 6: 3. Architecture
Ip=193.205.75.217
Ip=193.205.75.219
(modbus/tcp)
Ip=193.205.75.219
(modbus/tcp)
Ip=193.205.75.217
Direct Connection
Control via internet

## Slide 7: 3. Architecture: Desktop View

## Slide 8: 4. synopticappli
SafetyMode:
Is used to prevent users
damaging the cryotrap

## Slide 9: 5.mambo

## Slide 10: 6. PyTango
C++, java and python interface
Allows automatic testing and automation
Pytango is the python interface

## Slide 11: 7. astor
C++, java and python interface
Allows automatic testing and automation
Pytango is the python interface
Astor is used to
Administer servers.
e.g. control polling rate

## Slide 12: 7. Conclusion
A synoptic permits an overview of Cryotrap controls.
Data is archived and displayed with mambo
Python interface allows automation of testing if desired.
Tango open source SCADA provides many other tools such as logviewer, jive (configuration),jdraw (gui builder), atkmoni (graphs), e-giga (web support).
Conclusion