## Slide 1
Advanced Virgo dataDisplay
tutorial
D. Verkindt
11th of May 2015
VIR-0237A-15

## Slide 2
Choose input files and do time plots
Connect online and do FFT plots
Configuration file
Main browser features
Edit plots parameters
Use ROOT and dataDisplay features
Use reference plots
Tools and options

## Slide 3
Choose input files
and
do time plots

## Slide 4
First, type “dataDisplay” in an Xterm window
A mainpanel window should appear

## Slide 5
Click on “Inputs” and Choose “Read FFL”
Read data from ffl files which points to frame formatted data files
Read data from frame formatted data files
Read data online by connecting to one of the online data providers
Read data online from a shared memory
Read data from an audio file (only one channel)
Read data from an ascii file properly formatted [time, sample value] (only one channel)

## Slide 6
A list of files should appear
Choose “raw.ffl” and “trend.ffl”
Click on “OK” or press “Enter” on the keyboard

## Slide 7
The mainbrowser panel should appear, with a list of channels, some taken from raw.ffl, some taken from trend.ffl
Select a couple of channels in the list

## Slide 8
Click on “TIME” button
Two time plots are created
Select them and click on “Superpose”

## Slide 9
Choose a start date on the mainpanel
And click on “Start”
To read data and do the plots
GPS time, latency and UTC date of the data read
Remove the panel displaying the plots
When you push this button, dataDisplay do not stop when reaching end of data file and wait for new data
Info line about last activity of the dataDisplay

## Slide 10
A window should appear containing the time plot of the two channels, superposed
On the X axis is shown the UTC time
With time origin indicated in a string below the plot

## Slide 11
Once you have pressed “Stop” button, you can modify the plot using the various ROOT features or the additional features introduced by dataDisplay
Use the mouse to select a zoom on X or Y axis
Use the right button of the mouse to list the features you can use

## Slide 12
You can also visualize the bits of the data samples
(see “Edit TIME plot” section)

## Slide 13
Connect online
and
do FFT plots

## Slide 14
First, type “dataDisplay”
A mainpanel window should appear

## Slide 15
Click on “Inputs” and Choose “Connect online”
Read data from ffl files which points to frame formatted data files
Read data from frame formatted data files
Read data online by connecting to one of the online data providers
Read data online from a shared memory
Read data from an audio file (only one channel)
Read data from an ascii file properly formatted [time, sample value] (only one channel)

## Slide 16
A list of data providers should appear
Choose one of them
Click on “OK” or press “Enter” on the keyboard
Next steps are the same as in the previous section (just choose FFT instead of TIME plots in the mainbrowser)

## Slide 17
Configuration file

## Slide 18
Each time you click “Start”, a configuration file is
written on disk, containing all the parameters used by the dataDisplay.
Default name is “dy.cfg”
Menu to save or load configuration files
You can save and load configuration files.
You can also start the dataDisplay with a configuration file provided as first argument : dataDisplay dy.cfg

## Slide 19
Mainbrowser features
Click on the mainpanel button “Data and Plots” to get the mainbrowser panel
The mainbrowser panel allows
to select channels
to create plots for those channels
to search for channels
to combine channels to create new channels
to manipulate plots or edit plot parameters

## Slide 20
A set of buttons allows to act on the plots without editing them
Superpose the plots selected
Create a copy of the plots selected
Transform the plots selected into an other type
Permute the channels of a TRFCT, COHE or 2D plot
Remove the selected plots
Remove all the plots

## Slide 21
A set of buttons allows to act on the plots without editing them
Move the selected plots up and down in the list
Do not show the selected plots
Save the plots in a ROOT file

## Slide 22
A set of buttons allows to create plots of different types
Create a 2D plot for each couple of channels selected
Create an audio file for each channel selected
Create a TIME plot for each channel selected
Create a FFT plot for each channel selected

## Slide 23
A set of buttons allows to manage channels list
Remove all the channels coming from the same inputs as the channels selected
Remove the channels selected
Get the description of the channels selected
Update channels list according to most recent data available
Sort channels according to a filter. For instance *IMC*
Search for a given channel name

## Slide 24
A set of buttons allows to create new channels, by using standard C operators on existing channels
Create a default combination of the channels selected
Modify channels combination acccording to your needs
Use the combination of channels as a trigger (not yet ready)
Create the new channel

## Slide 25
Edit the
plots parameters

## Slide 26
Select the plots you want to edit
Click on “Edit Plots” button
 Only plots of the same type as the last one selected will be edited

## Slide 27
Editing the parameters of TIME plot
Default values are:
Chosen to shown 2000 samplings of data
Or identical to last already existing TIME plot
Apply an offset and a scaling factor to the data
Auto scale the Y axis instead of using the ymin and ymax values
Calibrate data values on Y axis
Remove DC component
Show data values on Y axis as bits ON and OFF
Apply a pass-band filter on the data
Read data by bunches of x % of the time window size

## Slide 28
Editing the parameters of FFT plot
Compute FFT on this time window
Auto scale the Y axis instead of using the ymin and ymax values
Calibrate data values on Y axis
Add a curve showing the rms vs frequency
Use a moving average of FFTs
Show only spectrum between fmin and fmax
Between two FFT computations, increment data reading by x % of the time window size
Refresh the plot only every N FFT computations
Use 1/Hz instead of 1/sqrt(Hz) units

## Slide 29
Editing the parameters of COHERENCE plot
Compute FFT on this time window
Use square root of coherence module
Show only spectrum between fmin and fmax
Between two FFT computations, increment data reading by x % of the time window size
Refresh the plot only every N FFT computations
Show a bicoherence plot (2D plot)
Show Y axis only between fmin and fmax in case of a bicoherence plot
Set a time shift between channel 1 and channel 2

## Slide 30
Editing the parameters of TRFCT plot
Compute FFT on this time window
Use square root of transfert function module
Show only spectrum between fmin and fmax
Between two FFT computations, increment data reading by x % of the time window size
Refresh the plot only every N FFT computations
Set a time shift between channel 1 and channel 2

## Slide 31
Editing the parameters of FFTTIME plot
Frequency resolution of the spectrogram (determine the time window in which FFTs are done
Auto scale the Z axis instead of using the zmin and zmax values
Calibrate data values on Z axis
Remove DC component
Use a moving average of FFTs
Show only spectrum between fmin and fmax
Between two FFT computations, increment data reading by x % of the time window size
Refresh the plot only every N FFT computations
Time window over which spectrogram is shown
Normalize spectrogram with a median value

## Slide 32
Editing the parameters of 1D plot
Apply an offset and a scaling factor to the data
Auto scale the X axis instead of using the xmin and xmax values
Calibrate data values on X axis
Remove DC component
Show statistics on the plot
Do the distribution plot over 200 bins
Read data by bunches of 4 seconds

## Slide 33
Editing the parameters of 2D plot
Apply a shift of n samplings between channel1 and channel2
Auto scale the X and Y axis instead of using the xmin, xmax, ymin and ymax values
Calibrate data values on X and Y axis
Choose a display option of the 2D plot
Show statistics on the plot
Do the distribution plot over 200 bins
Read data by bunches of 4 seconds

## Slide 34
Editing the parameters of RAW plot
Periodicity of plot’s update
Auto scale the Y axis or on Z axis
Calibrate data values on Y axis (if 1 dim vector) or on Z axis (if 2 dim vector like camera images)
Use a moving average
Do the distribution plot over 200 bins
In this case, data are read frame by frame and each raw vector of data read is shown as it is.

## Slide 35
Editing the parameters of AUDIO plot
Record 10 seconds of data in an audio file
Provide sound online in addition to recording it on file
Record samples over 16 bits instead of 8 bits

## Slide 36
Use of ROOT and dataDisplay features
dedicated to plots

## Slide 38
Auto scale the Y axis or on Z axis

## Slide 39
Auto scale the Y axis or on Z axis

## Slide 40
Use of reference plots

## Slide 41
Save in a ROOT file the current plots
Read from a ROOT file the reference plots to be superposed to the current ones
Add, remove, change color of the reference plots
A menu “Reference plots” allows you to create a set of reference plots, to load a set of reference plots and to manage to reference plots files loaded

## Slide 42
List of reference plots files loaded, with their color number
Add a reference plots files to the list
Change the color of the reference plots selected
Remove the reference plots selected
When choosing “Edit Reference Plots”, the panel below should appear

## Slide 43
Time origin of the reference plot
Once you “Get a Reference Plot”, the reference plots contained in the ROOT file you choose should appear, superposed to the current plots
When clicking on “Start”, the reference plots continue to be shown superposed to the current ones.

## Slide 44
Tools and Options

## Slide 45
Reset all, except the list of plots
The menu “Tools” provide access to various additional tools and options
Choose the plots configuration on screen
Load a user-defined function running on data vectors
Write on disk the data read by the dataDisplay
Access to options panel

## Slide 46
The color set used in 2D plots
The “Options” panel provides various options about the plots display
or the mainbrowser management
Text size of the legends
Set log scale or linear scale on the X axis of all the plots
Set log scale or linear scale on the Y axis of all the plots
Text size of the statistics
Text size of the time strings
Text size of the X axis
Text size of the Y axis
Width of the plots curves

## Slide 47
Put this button ON if you want to write on disk the data read by the dataDisplay
When choosing “Output data files” in the “Tools” menu, you should get the panel below, which allows to define the content and the caracteristics of the data files (frame format) written on disk.
List of channels to be written on disk
Directory where data files will be written
Number of frames per file

## Slide 48
The menu “Tools” contains an item called “Help”.
It provides access to an Help panel
with a button to active Help balloons.
If you need more help, send an email to
verkindt@lapp.in2p3.fr
describing the problem and
telling where can be find the configuration file dy.cfg that you used