## Slide 1: Super Attenuator Control System

## Slide 2: Main Participants
D. Passuello (INFN staff)
A. Gennai (INFN staff)
C. Magazzu (INFN staff)
M. Bitossi (INFN Fellowship, end Oct 2013)
A. Kutynia (Poland, end 2013 – possible 6 months extension)
V. Boschi (Univ. of Pisa & INFN – EGO fellowship)
G. Ballardin (EGO Staff) – Software
EGO Electronics Group (Cabling, Racks, ...)

## Slide 3: Local Control Units
Accel
Accel
LVDT
LVDT
CD
CD
DSP
5 free slots
DSP
3 free slots
Top Stage
Bottom Stage
DSP
DSP
DSP
DSP
DSP
DSP
LVDT
DSP
LVDT
DSP
CD
DSP
CD
DSP
CD
DSP
CD
DSP
CD
DSP
CD
DSP
SRIO
GbE / Optical Link

## Slide 4: Crates
Expected delivery (2 pcs): July 19th, 2013
ELMA customized a TCA.4 crate

## Slide 5: Modules
Timing + Optical Interface (design by LAPP Annecy) were integrated on board. A formal agreement will follow soon
Timing (by courtesy of LAPP)
Optical Link(by courtesy of LAPP)
Integration forced some change in components placement and a partial reassignment of Cyclone IV pins with subsequent PCB new routing (M. Bitossi).

## Slide 6: Software
Design (and some development) of high level control software started (G. Ballardin).
TANGO is preliminary framework choice.
TANGO is an object oriented distributed control system using CORBA (synchronous and asynchronous communication) and zeromq (event based communication) and is being actively developed as a collaborative effort between the Alba,Anka, Desy, Elettra, ESRF, FRM II, MAX-IV, Solaris and Soleil institutes.
DSP Compiler work is in progress (D. Passuello)

## Slide 8: Software (II)
DSP
Tango Server
DSP
Tango Server
TANGO Bus
Tango Client
Cm Interface
We will not use Cm within Suspension Control System but will keep on maintaining a Cm command interface
DSP will run a server based on TCP/IP sockets

## Slide 9: Tiltmeter (i.e. Gyroscope)
A test facility was set up and we ran some preliminary test (V.Boschi , A.Kutynia, C. Magazzu) – Mechanical design by A. Basti
1.8 m
Accell
HRG
Magnet
10 cm
LVDT
The testing table has been then equipped with 3 LVDTs and 3 Coil-magnet actuators, disposed in the standard pinwheel configuration, plus an horizontal accelerometer placed in the center of the table.
Table is controlled by DSP implementing a LQG 3x3 controller based on a Kalman estimator.

## Slide 10: LQG Controller (V. Boschi)
LVDT1/COIL1
LVDT2/COIL1
LVDT3/COIL1
LVDT1/COIL2
LVDT2/COIL2
LVDT3/COIL2
LVDT1/COIL3
LVDT2/COIL3
LVDT3/COIL3
Kalman filter
State feedback gain
SimMechanics model tuned on experimental TFs
COIL1, COIL2, COIL3
LVDT1, LVDT2, LVDT3

## Slide 11: Preliminary Results (DRAFT)
20 mHz sine wave as seen by accelerometer (30 urad rms)
Angle output (bandpass 7mHz -> 1.27Hz)
Angle rate output (lowpass 26mHz)
Expected nominal ground tilt noise is in the order of 30e-9/f rad/sqrt(Hz)