TANGO Status at Ego May 2014.

Martin Mohan.

VIRGO/EG0

23 May 2014

Change Record

| Version | Date | Section Affected | Reason / Remarks |
| --- | --- | --- | --- |
| V1R0 | 23 May 2014 | All | DRAFT |
| V1R1 |  |  | . |

Table of Contents

1	Introduction	4

1.1	Tango introduction	4

1.2	Vacuum system and Tango	5

1.3	SAT/INJ system and Tango	5

2	Tango Installation and Linux	6

2.1	Tango and Scientific Linux at Virgo/Ego.	6

2.2	Tango and Debian Linux at Virgo/Ego.	7

3	Tango Servers	8

3.1	Vacuum Servers	9

3.1.1	Crio:	9

3.1.2	VacPLC:	10

3.1.3	Midivac:	11

3.2	INJ Servers	12

3.2.1	LaserChiller/LaserChillDiodes:	12

3.2.2	Lnfs100:	12

3.2.3	sdt2011:	13

3.3	SAT Servers	13

4	Tango Clients	14

4.1	Gui clients	15

4.1.1	Vacuum Supervisor	17

4.2	Cm2Tango client	18

4.3	Command Line clients	18

5	Tango in a Production environment	19

5.1	Tango Naming convention	19

5.2	Security	20

5.3	Other	20

6	Conclusion	21

Table of Figures

Figure 1 Overview of Tango Clients and Servers	4

Figure 2 Screen dump of laptop used to test Cryotraps at Schio	5

Figure 3 Astor running on hosts:  Tangoserver cmplvtf.	8

Figure 4 Nikhef Crio controller	9

Figure 5 LAL Cryotrap control rack	10

Figure 6 Midivac	11

Figure 7 Lnfs100	12

Figure 8 sdt2011	13

Figure 9  Lnfs GUI design - jdraw	15

Figure 10 LNFS synoptic – created with jdraw	16

Figure 11 LNFS synoptic – created with Taurus	17

Figure 12 Tango Access Control	20

Related Documents

| [1] | Cryotrap Control With Tango Friday, 27 April, 2012 https://tds.ego-gw.it/ql/?c=8978 |
| --- | --- |
| [2] | TANGO Software testing at Schio on the Cryotraps (Thursday, 10 April, 2014) https://tds.ego-gw.it/ql/?c=10196 |

Institute Acronyms

EGO:		European Gravitational Observatory, Pisa, Italy

ESRF:	European Synchrotron Radiation Facility

LAL:		Laboratoire de l’Accelerateur Lineaire, Paris (Orsay), France

Nikhef:	National Institute for Nuclear and High energy physics,Amsterdam, NL

Introduction

Tango introduction

This is the report on current state of Tango at Ego in May 2014.

Tango was adopted by vacuum group in 2011 to replace custom software at Ego and was also subsequently adopted by the SAT subsystem. It is also used for some INJ software.

Currently several Tango servers are tested and installed at Ego. See Figure 1for overview.

Figure 1 Overview of Tango Clients and Servers

Vacuum system and Tango

Tango was used to test the Cryotraps at Ego. First software to test the Cryotraps using Tango was created in April 2012[1].Since then Tango was used to successfully test Cryotrap prototype at Schio and in Final tests at Schio in April 2014[2].

Figure 2 Screen dump of laptop used to test Cryotraps at Schio

SAT/INJ system and Tango

SAT subsystem is also using the Tango system and some small INJ drivers also use Tango.

Tango Installation and Linux

Initially it was attempted to put Tango on Scientific Linux which is the default operating system used at Ego. This proved difficult due to many software conflicts so Tango was installed on Debian linux machines for which Tango is specifically packaged.

.

Tango and Scientific Linux at Virgo/Ego.

http://en.wikipedia.org/wiki/Scientific_Linux

Virgo/Ego uses Scientific Linux as the main operating system. Although Tango can be installed on Scientific linux it can be quite difficult and time consuming because Tango is not packaged for this operating system.

At Ego the Scientific Linux machines are mounted together on disks with names like  /virgoDev and /virgoApo and developers add their programs to these disks. For a large system like Tango which supports many libraries, having all software installed together can lead to conflicts of different software versions. E.g. the version of python installed on /virgoXXX can be different from that used by Tango.

Ref: http://sprserver.ego-gw.it/mantisbt/view.php?id=1151

Despite these difficulties some Tango software servers have been installed on Scientific Linux at Ego, although a Debian linux machine is still needed for the configuration of these servers.

Tango and Debian Linux at Virgo/Ego.

http://en.wikipedia.org/wiki/Debian

Debian is seen as a stable Linux distribution and has roughly a 2 year release cycle.

Debian is the operating system used at ESRF (which originally developed Tango) and most of the Tango software is packaged for Debian using the Debian aptitude package manager. This means that software conflicts are resolved by the Tango and Debian communities. Aptitude packaging makes it easies to install, maintain and upgrade the software and having a more standard installation means better support can be provided by the Tango community.

Tango uses cobra and zeromq to communicate between different servers. Access to different Tango buses is achieved by setting the environment variable TANGO_HOST.

The advantages of using Debian linux in terms of reliability and support outweigh those of using Scientific Linux.

Tango Servers

Tango servers are used to access hardware and are shown on the lower half of Figure 1. Tango servers read/write hardware data from/to the Tango Software bus.

All servers on a Tango bus can be viewed and tested using the Astor client. Several servers have been written and tested. Some are shown on the lower half of Figure 1.

A Tango bus is selected by setting the environment variable TANGO_HOST.

The host “tangoserver” is used to test hosts for Vacuum equipment by LAL and Nikhef. The host “cmplvtf” runs several other Tango servers used by INJ and vacuum.

Astor has also been installed both on Debian and Scientific Linux.

e.g.  To see the hosts running on cmplvtf

On Scientific linux (csh ): setenv TANGO_HOST cmplvtf:10000

On Debian linux     (bash):export TANGO_HOST=cmplvtf:10000

Figure 3 Astor running on hosts:  Tangoserver cmplvtf.

.

Vacuum Servers

Crio:

A rack to control Nitrogen levels for the Cryotrap was developed at Nikhef. This uses modbus protocol for hardware communication. The first rack has been installed in the West End Building.

The Crio controller and a local interface were developed by Fred Schimmel (Nikhef). A Tango Modbus interface to Crio was developed by Martin Mohan (EGO). Network problems meant remote tests with Tango were not possible yet but preliminary local tests using Tango were partially successful.

Figure 4 Nikhef Crio controller

VacPLC:

A rack to control pressure pumps and valves for the Cryotraps was developed at LAL. This uses modbus protocol for hardware communication. The first rack has been installed in the West End Building.

A local interface and A Tango Modbus interface to this rack was developed by Eric Jules (LAL).Preliminary tests have been carried out successfully both locally and remotely.

Figure 5 LAL Cryotrap control rack

Midivac:

12 Tango servers control the Midivacs. These have been installed and running since Friday 04 May 2012

https://tds.ego-gw.it/itf/osl_virgo/index.php?callRep=30748

The Tango servers run on Scientific Linux (olserver34) but the Tango use a Debian server (cmplvtf) for Tango configuration data.

Figure 6 Midivac

INJ Servers

LaserChiller/LaserChillDiodes:

These servers control the LaserChiller/LaserChillerDiodes. These Tango servers have been running for a while and they interact with cm software through a simple C++ interface.

Lnfs100:

This server along with sdt2011 below is used for frequency control by the injection system.

Figure 7 Lnfs100

sdt2011:

These are frequency generators used by injection and associate with lnfs100 above.

Figure 8 sdt2011

SAT Servers

Info can be provided by Giulio Ballardin (EGO).

Tango Clients

Tango clients are used to control the Tango Servers and are shown on the upper half of Figure 1. Tango Clients read/write data from/to the Tango Software bus.

Although all Tango Servers can be controlled with Tango’s Astor client many other clients are also available. Over the years the Tango community has developed clients such as GUI builders; language interfaces (C++, java and python) and interfaces to 3rd party clients such as Matlab.

See https://www.Tango-controls.org/clients/Tango-clients . Several of these clients have been tested at Ego.

Gui clients

The most obvious interface to a device server is a GUI. Tango provides several clients to create GUIs and one of the most intuitive is probably jdraw Figure 9

Figure 9  Lnfs GUI design - jdraw

A designer can insert pictures labels and diagrams using the jdraw editor. A pull down menu on the left hand side contains a list of attributes/commands which the designer then associates with the design.

Commands such as “RestartServer” and attributes such as Freq1,Freq2,Freq3 can then be dragged into drawing. In this way a fully functioning GUI can be created in a short time.

After saving the GUI can be launched using the client synopticAppli (see below).

Figure 10 LNFS synoptic – created with jdraw

Several clients in addition to jdraw are available to create GUI’s, such as jddd, Sardana and Taurus. Below is an example of another GUI for the same Lnfs server above created using Taurus client.

Figure 11 LNFS synoptic – created with Taurus

Vacuum Supervisor

The vacuum supervisor will be used to oversee all the Tango Servers. Building the vacuum supervisor will depend on the GUI client selected. Lower level security should depend on setting up TangoAccessControl (5.2).There are several other issues such as locking ownership which must also be addressed.

Cm2Tango client

Figure 1shows a client called cm2Tango. This represents a client which can be used to read/write from/to a Tango bus and convert the data into a format which is compatible with the Virgo client cm.

Cm is a Virgo command line interface used for slow data monitoring. If a cm interface to the Tango bus is created the Tango bus can be monitored using the current Ego/virgo cm clients.

Cm operates on Scientific linux and is written in C++. A C++ interface to the Tango bus has been installed on Scientific Linux providing the possibility of writing a cm2Tango interface

Successful tests have been carried out to read simple individual Tango servers into cm format. However this is not a sustainable solution as the Tango source code must be modified for every change or addition to a Tango server.

A generic cm2Tango interface should allow integration with existing Virgo clients.

Command Line clients

Tango provides Python, Java and C++ interfaces to the Tango bus. These allow automation of common tasks.

Tango in a Production environment

Several Tango test servers have been developed in a test environment.

For a production environment a common naming convention should be adopted and access control agreed upon among other things.

Tango Naming convention

Each Tango server must have a unique name. A name consists of 3 parts. A common naming common naming convention is still to be adopted by Ego.

An example of a suggested naming convention is:

Crio/we-l1-01 (Server Name/Instance Name)

vac/crio/we-l1-01 (unique device name).

This identifies the vac equipment called crio. It is located in the test room which has room name we-l1-01. Hence unique device name is vac/crio/we-l1-01

The naming convention should be agreed by all and documented. Input from the Tango community who have a lot of experience may be useful.

Security

Tango provides a server package called TangoAccessControl. http://www.esrf.eu/computing/cs/Tango/Tango_doc/clients_doc/astor_doc/access_control.html

This can be used to control access to servers and devices. This should be installed on production servers after it has been decided who can access which servers.

Figure 12 Tango Access Control

Other

Other Standard system tools should be applied

E.g. regular backups, Regression Testing of Tango servers, tickets for problems etc… A person responsible for supporting users should also be identified.

Conclusion

Tango has been installed at Ego on several Debian linux machines and has been partly installed on Scientific linux. Several Tango servers have been written and tested mainly for the vacuum control system.

All Tango servers may be controlled by the Astor client but other clients are also available. Several GUI clients have been installed such as jdraw and Taurus (on Debian linux) but operators at Virgo must familiarise themselves with how to use the clients. There are also several programming clients which can be used to integrate with Tango servers (python, C++ and java).

The main tasks still pending are:

- Choose which Tango clients to use.

- Move current test servers to production servers

- A generic interface to the Virgo environment should be created (Tango2cm?)