## Slide 1: adVirgo specifications
Jean-francois Hayau, Francois Bondu
Virgo Week 19-21th july

## Slide 2: Outline
Requirement on modulation index noise
Frequency noise requirement
IMC length noise requirement
Need of an etalon?

## Slide 3
0ptickle model : fMod1 = 6270339.2 Hz, fMod2 = 81515709.5 Hz, fMod3 = 8360585.6 Hz ; Lcav = 2999.9 m, Lprc = 11.953m, Delta = 0.037m, Lsrc= 11.033m, Lprbs = 5.980m.
Noise of sideband on dark fringe is reduced by the OMC
Intensity noise on sideband
Without OMC intensity noise comes from sidebands ( mostly from f2)
Factor 491
Noise brings by carrier
Noise brings by sidebands

## Slide 4
Noise on modulation index = RIN on sideband.
RIN requirement on sideband realized for various loss asymmetries (from -80ppm to 80 ppm with a step of 20ppm) and finesse asymmetries ( from -1% to 1% with a step of 0.5%).
Noise on modulation index

## Slide 5
Noise floor of 2.2 10-8 Hz-1/2.
Result depends on f2 value.
Lower RIN on sideband is taken between the different files at each frequency => Hardest RIN requirement.
Modulation index noise

## Slide 6: Outline
Requirement on modulation index noise
Frequency noise requirement
IMC length noise requirement
Need of an etalon?

## Slide 7
Frequency noise for various finesse asymmetries
Frequency noise for various loss asymmetries
Frequency noise requirement

## Slide 8
Frequency noise requirement realized for various loss asymmetries (from -80ppm to 80 ppm with a step of 20ppm) and finesse asymmetries ( from -1% to 1% with a step of 0.5%) : Lower frequency noise is taken between the different files at each frequency => Hardest frequency noise requirement .
Frequency noise requirement

## Slide 9: Outline
Requirement on modulation index noise
Frequency noise requirement
IMC length noise requirement
Need of an etalon?

## Slide 10
The length noise on the IMC is simulated by a small motion of the output mirror.
The motion of the IMC leads to frequency noise.
IMC length noise requirement

## Slide 11
IMC length noise requirement
Hardest requirement on IMC length noise.

## Slide 12: Outline
Requirement on modulation index noise
Frequency noise requirement
IMC length noise requirement
Need of an etalon?

## Slide 13
Frequency noise from shot noise
Frequency noise induced by shot noise
Shot noise from POBS (B5) is reintroduced as frequency noise by SSFS.
Frequency noise is coupled to h through arms asymmetries:
  Finesse asymmetry dF/F, loss asymmetry dL
  Various effect in function of arms asymmetries: need of an etalon?

## Slide 14
Frequency noise induced by shot noise on dark fringe
Frequency noise from shot noise
Objective: Evaluate effect of various finesse and loss asymmetries on frequency noise from shot noise on dark fringe.
=> definition of a margin:
δν
hsens

## Slide 15
Margin
Margin lower than 1. Optimistic result (MSRC configuration).
Asymmetries can be compensated by each other.

## Slide 16
Hardest RIN on sideband:
  Noise floor of 2.2 10-8 Hz-1/2
  This requirement depends on OMC and f2.
Frequency noise from shot noise :
  Effect of loss asymmetries can be compensated by an appropriate finesse asymmetry ( Possible use of an etalon).
Perspective: update result for new adVirgo configuration.
Summary

## Slide 17
Margin for Virgo