## Slide 1: SIB 1 local control system: configuration 1
SLED
PSD1
PSD2
Mirror fixed on the bench
x
z
y
Should sense z, tx and ty
but a coupled d.o.f.
Video
camera
SLED
→ We are checking if there is enough space to install the new bench south
side of INJ tower.
EM111212
E. Genin 03/10/12
OL beam layout for LC susp-InjBench

## Slide 2: SIB 1 local control system: configuration 1
SLED
PSD1
PSD2
Mirror fixed on the bench
x
z
y
Should sense z, tx and ty
but a coupled d.o.f.
→ a decision on the optical setup to use for AdV is expected to be taken soon (≈1 month).
Virgo-like configuration
Video
camera
PSD3
PSD4
E. Genin 03/10/12

## Slide 3: SIB 1 local control system: configuration 3
SLED
PSD1
PSD2
Mirror fixed on the bench
x
z
y
PSD3
PSD4
OL1 (WEST): it senses z, tx and ty
but a coupled d.o.f.
OL2 (North): it senses x, tz
at marionette level .
Control uses marionette coils
SLED SOURCE: single source 2 mW, 670 nm,
splitted (Superlum pilot configuration ordered)
SLED
CCD

## Slide 4
Thanks, Tati
Center of OL mirror
40.5 mm below marionette bottom plane.
Coating plane on the vertical axis, 1 inch metal.
OK
OL2 Heights

## Slide 5
Thanks, Tati
!
OL2 SUSP WIRE !

## Slide 6
Through WestNorthUp viewport

## Slide 7
OL2 incident beam
OK
range ty CCW: 6 mrad clips on OL exit viewport (LC lens OK within mirror ty ±10 mrad)
range ty CW : 40 mrad clips on OL susp wire
Remind that ty is controlled by means of OL1, once controlled one can switch on tz,x,
few hundreds of mrad at most will be driven by tz.
Thanks, Tati
OK
=>OK

## Slide 8
OL1 Heights

## Slide 9
OL1 ~ 18 deg
ty range ± 10 mrad (LC lens)